AUGUST, 2024 EXAMINATION SERIES

COURSE: CWE

LEVEL: Y2S2

SUBJECT: RAINWATER HARVESTING

| SECTION A (20 MARKS) ATTEMPT ALL QUESTIONS IN THIS SECTION |  |  |
| --- | --- | --- |
| 1. | The following are methods of rainwater purification units, which one is not? - Reverse osmosis - Disinfection - zonation - Filtration | 1mk |
| 2. | Rain water harvesting is a major method implemented for ______ - Water Conservation - Soil Conservation - Forest conservation - Ecological conservation | 1mk |
| 3. | Seeping of rainwater through the soil helps to maintain - Water table - Water cycle - Nitrogen - Soil nutrients | 1mk |
| 4. | The following are roof catchments, which one is not advisable to use. - Corrugated Iron sheets roofs - Asbestos roofs - Concrete roofs - Tiled roofs | 1mk |
| 5. | Of the following storage facilities which one is regarded the best in terms of cost. - Steel tanks - Small water Pan - Plastic tanks - Masonry tanks | 1mk |
| 6. | The chemical used to regulate PH in water is________ - Chlorine - Alum - Sodium chloride - Sodium bicarbonate | 1mk |
| 7. | The following are the component of rooftop rainwater harvesting system except - Catchment - First flush - Filter - Sprinkler system | 1mk |
| 8. | Give the importance of filtration of rainwater. - Remove acidity - Remove dissolve gases - Remove turbidity - Remove suspended solids | 1mk |
| 9. | The following are major of causes acidic rain except. - Carbon dioxide gases - Sulphur gases - Chlorine gases - Atmospheric gases | 1mk |
| 10. | The recommended PH level in water is__ - 5 - 7 - 8 - 8.2 | 1mk |
| 11. | From the following aspects, which one is rainwater purification method. - UV treatment - Carbon filtration - Chlorine treatment - All of the above | 1mk |
| 12. | Which one of the following is the benefit of rainwater harvesting? - Flood mitigation - Provide a lot of water to play - Create good aesthetic view - Decrease the ground water level | 1mk |
| 13. | Which one cannot be used to remove particles and suspended solids in water. - Charcoal - Sand - Sieve - Ash | 1mk |
| 14. | The following are maintenance practices of rainwater system except. - Digging channels - Cleaning of roofs. - Painting of tanks - Removing leaves from gutters and filters | 1mk |
| 15. | Which chemical is mostly used to remove bacteria and viruses in water? - Aluminum sulphate - Sodium chloride - Soda ash - Chlorine gas | 1mk |
| 16. | Water harvesting is - Collection of river water - Collection of rainwater in storage tanks or in the soil to recharge ground water - Harvesting of water from tube walls - All of the above | 1mk |
| 17. | The component that is responsible for filtering out leaves and large debris is: - screen - First flush diverter - conveyance system - gutter | 1mk |
| 18. | The primary purpose of rain water harvesting is to: - Increase water runoff - Reduce soil erosion - Store rainwater for reuse - Increase water usage | 1mk |
| 19. | Calculate the amount of water to be collected from a roof of 30 sq. meters and rainfall of 150mm if the catchment coefficient is 0.85. - 482.5litres - 3825000litres - 3825litres - 3.825litres | 1mk |
| 20. | In rainwater harvesting system, what must be maintained regularly? - Storage tanks - Filters - Pumps and pipes - All of the above | 1mk |
| SECTION B 40 MARKS ANSWER ALL QUESTIONS |  |  |
| 21. | State three types of pumps used to supply rainwater. | 3mks |
| 22. | Describe four methods of rainwater purification. | 8mks |
| 23. | State four contaminants that is mostly found in rainwater. | 4mks |
| 24. | Outline five types of rainwater catchments. | 5mks |
| 25. | Define the following: |  |
|  | - Rainwater | 2mks |
|  | - Catchment | 2mks |
|  | - Rainwater harvesting | 2mks |
| 26. | State four ways of protecting community catchments. | 4mks |
| 27. | Express the formula for calculating amount of rainwater to be harvested. | 3mks |
| 28. | Write down five benefits of rainwater harvesting. | 5mks |
| 29 | Mention the advantages of using water pan for rainwater storage | 2mks |
| SECTION C 40MARKS ANSWER ANY TWO QUESTION |  |  |
| 30. | - Mention five suitable conditions for rock catchment. - Describe the components that make up a complete rainwater harvesting system. | 5mks 15mks |
| 31. | - Outline requirements of rainwater tank design. - Roof surface catchment measures 20m in length and 8m breadth, the average annual rainfall in the area is 450mm. Design the storage capacity for rainwater if the roof surface is 4m high and provide the dimensions of the tank. | 5mks 15mks |
| 32. | - Outline the operation and maintenance requirements for rainwater harvesting system. - The catchment area is 300 hectares. The surface cover in the catchment can be classified as below. Calculate the volume of water to be harvested from each catchment area given the mean annual rainfall is 550 mm. Type of cover; Runoff coefficient; Percentage area. Roofs; 0.90; 25. Pavements; 0.80; 15. Roads; 0.40; 20. Gardens; 0.15; 25. Open fields; 0.10; 15. 1ha=10,000m2 | 5mks 15marks |