AUGUST, 2024EXAMINATION SERIES

COURSE: DWET

LEVEL: Y3 S2

SUBJECT: OPERATE AND MAINTAIN WATER SUPPLY SYSTEMS

| SECTION A (40 MARKS) ANSWER ALL QUESTIONS IN THIS SECTION |  |
| --- | --- |
| - Distinguish between the terms OPERATION and MAINTENANCE with respect to water supply systems in KENYA | (3 marks) |
| - Highlight any four components of a rural piped water scheme | (4 marks) |
| - State FOUR maintenance activities for spring developments. | (4 marks) |
| - Two common community water projects are wells and boreholes. State two main differences between shallow wells and boreholes. | (4 marks) |
| - State the operation activities of shallow wells. | (2 marks) |
| - Give five activities involved in ensuring proper functioning, sustainability and longevity of a community water system. | (5 marks) |
| - Water pans are one of the most common community water projects developed in ASALs. Clearly distinguish a dam and water pan. | (4 marks) |
| - Water is flowing from point A to point B. How would you arrange a meter, a gate valve and a one-way valve in order from A to B? | (2 marks) |
| - List any TWO reasons HDPE pipes are preferred to GI pipes | (2 marks) |
| - List any TWO reasons of spreading gravels on top of an underground concrete tank. | (2 marks) |
| - List any THREE-marker posts installed in water supply system and their corresponding meanings. | (3 marks) |
| - Highlight any THREE ways of minimizing water loss in a service reservoir. | (3 marks) |
| - Why are water meters recommended to be installed horizontally? | (2 marks) |
| SECTION B (60 MARKS) COMPLETE QUESTION 15 AND ANY OTHER TWO |  |
| 15. |  |
| - Identify any FIVE stakeholders and their skills required in the operation and maintenance of spring developments. | (10 marks) |
| - Describe the operation activities of both small-scale use and large-scale abstraction water pans. | (4 marks) |
| - State any THREE maintenance activities of water pans. | (3 marks) |
| - Identify THREE frequent problems in shallow wells and the appropriate mitigation measures for each. | (3 marks) |
| 16. |  |
| - Using a well-labelled sketch describe the operation of sand dams. | (5 marks) |
| - Describe any THREE maintenance activities for sand dams. | (3 marks) |
| - Explain any TWO limitations water pans as a water source for the community. | (4 marks) |
| - Identify any FOUR stakeholders and their skills required in the operation and maintenance of water pans. | (4 marks) |
| - Explain any TWO limitations of shallow wells | (4 marks) |
| 17. |  |
| You are the technical manager of Kericho Water and Sewerage Company. A group of students from Kenya Water Institute approached your company on a field academic tour with the following maintenance questions. Write down the response of your discussion. |  |
| - Explain any THREE major types of regular maintenance of assets in your water supply system. | (9 marks) |
| - Name any TWO departments responsible for maintaining assets in your water supply system. | (2 marks) |
| - Highlight procedure followed when repairing a broken asset in your water supply system. | (5 marks) |
| - Highlight how you prevent and/or anticipate to prevent tank overflows in your water supply system. | (4 marks) |
| 18. |  |
| You are the area technical manager in Kisumu Water and Sewerage Company. The area of your jurisdiction is 5Km2 with various water supply system infrastructure. |  |
| - Explain how you can easily identify and repair a leak along the main water pipe. | (5 marks) |
| - Discuss how you would trouble shoot a pump within your area. | (6 marks) |
| - Explain procedure you would follow from identification to installation of service water meter. | (6 marks) |
| - Highlight ANY THREE areas you would prefer GI pipes unlike UPVC pipes. | (3 marks) |