AUGUST, 2024 EXAMINATION SERIES

COURSE: DWSET

LEVEL: Y3S2

SUBJECT: CUSTOMER SERVICE MANAGEMENT

| SECTION A (40MARKS) ANSWER ALL QUESTIONS |  |  |
| --- | --- | --- |
| 1 | State three sources of waste water | 3mks |
| 2 | Define the following terms as used in sewer system - Customer connection - Sewer line - Sewer appurtenances - Pipe fittings - Man hole | 4mks |
| 3 | Outline five safety precautions necessary during excavations of sewer line trench | 5mks |
| 4 | State four types of joints used in sewer line connection | 4mks |
| 5 | List five types of sewer appurtenances | 5mks |
| 6 | Give reason why we use shoring during sewer construction | 2mks |
| 7 | Outline four functions of manhole in sewer system | 4mks |
| 8 | State five different types of fitting used in sewer connection | 5mks |
| 9 | Explain how backfilling is performed to ensure stability and longevity of sewer line | 3mks |
| 10 | State four advantages of using PVC pipes versus concrete pipes for sewers | 4mks |
| SECTION B (60 MARKS) ANSWER ANY THREE QUESTIONS |  |  |
| 11 | - Write a detailed procedure of sewer line connection. - Describe sewer line testing procedure. | 10mks 10mks |
| 12 | - Describe 10 tools and equipment used in sewer connection. - Discuss methods of advanced mapping and sewer line route selection. | 10mks 10mks |
| 13 | - Explain pipe trench excavation procedure and list 10 tools and equipment used in performing such work. - Differentiate between drop holes and lamp holes | 15mks 5mks |
| 14 | - Describe five sewer appurtenances - outline safety precautions while constructing a manhole | 15mks 5mks |