AUGUST, 2024 EXAMINATION SERIES

SUBJECT: OPERATION AND MAINTENANCE OF WASTEWATER INFRASTRUCTURE

COURSE: DWSET

LEVEL: YEAR THREE SEMESTER TWO

SECTION A (40 MARKS)

Attempt all questions in this section

|  | QUESTIONS | marks |
| --- | --- | --- |
| 1 | State 3 examples of storm sewer system components | 3 marks |
| 2 | Sewer cleaning helps keep the sewer line in good working condition. State two materials removed during sewer cleaning process. | 2 marks |
| 3 | Provide maintenance activities for inlets and outlets in storm water drains | 4 marks |
| 4 | Provide four inspection and monitoring guidelines for grit chambers | 4 marks |
| 5 | Rehabilitation and maintenance of wastewater treatment units is achieved through the use of various tools. Mention 4 such tools. | 4 marks |
| 6 | Sanitation workers are often exposed to various occupational hazards. List four ways to evade these hazards while working in sewers | 4 marks |
| 7 | Sewer systems can present a host of confined space hazards. Name 3 of such hazards. | 3 marks |
| 8 | Outline three items in troubleshooting guide for mechanical wastewater treatment plant. | 3 marks |
| 9 | A facultative lagoon should be visited regularly and each visit recorded in a logbook. List four O & M activities to be kept in the logbook. | 4 marks |
| 10 | List three tools and equipment required to maintain sludge treatment units. | 3 marks |
| 11 | Name three items to look for during inspection and monitoring of gravity thickeners. | 3 marks |
| 12 | List three sewer problems commonly encountered. | 3 marks |

SECTION B (60 MARKS)

ANSWER QUESTION 13 AND ANY OTHER TWO

| 13 | - An inspection checklist is used to record problems encountered during inspection of a storm sewer system. Discuss four of such activities providing an example for each case. (8mks) - Sewer cleaning is the process of removing built-up materials from the sewer system. Briefly discuss three methods of achieving this. (6mks) - Inspection and monitoring of wastewater treatment units is good for their smooth and efficient running. Explain how this is achieved on the screen unit of wastewater treatment. (6mks) | 20 marks |
| --- | --- | --- |
| 14 | - Name three components of a trickling filter. (3mks) - Trickling Filters should be inspected on a daily basis for various signs. Discuss three of such signs and provide responses. (6mks) - Stabilization ponds forms part of wastewater treatment. Provide operation and maintenance on the pump station and handling of screenings within the ponds. (5mks) - Sewer lines inevitably suffer damage over time. These damages need to be rectified. Explain three methods of sewer repair. 6mks) | 20 marks |
| 15 | - For wastewater treatment units to perform satisfactorily, troubleshooting is often practiced. Describe how problems on the following units are troubleshoot. - Comminutors and barminutors (4mks) - Belt conveyors. (4mks) - Mechanical bar screens. (5mks) - A monitoring report serves to record the observations made during the inspection and monitoring process of wastewater treatment units. Based on this, prepare a monitoring report for Hand cleaned channels and mechanical de-gritters. (7mks) | 20 marks |
| 16 | Inspection and monitoring guidelines are provided for various sludge treatment units. - Provide guidelines used in: - Gravity thickeners. (6mks) - Filter press (4mks) - Provide troubleshooting operational problems in Aerobic digesters. (5mks) - Prepare a preventive maintenance schedule for a wastewater pump. (5mks) | 20 marks |