AUG ,2024 EXAMINATION SERIES

SUBJECT: WATER QUALITY PRINCIPLES

COURSE: PPF/WWMT

|  | SECTION A ( 10 MARKS)-ANSWER ALL QUESTIONS |  |
| --- | --- | --- |
| 1 | Definition of a water parameter includes. - A measurement of the acidity of water - Ability of water to corrode pipes - An aspect of water that is measured to determine its quality - All of the above | 1 mark |
| 2 | Water sampling is done so that - Water can be tested to determine its quality - Ensure it meets the requirements of standards of drinking water - Humans are safe from harmful effects of polluted water - All of the above | 1 mark |
| 3 | The following are lab rules except - Do not use equipment without Lab Technicians authority - Do not eat in the Lab - Charge your mobile phone using lab sockets to prevent it shutting down - All of the above | 1 mark |
| 4 | One of the following steps is done during water sampling except - Wearing gloves when sampling - Testing conductivity of water before sampling - Labelling the containers with samples - Using a cooler box with ice to preserve samples | 1 mark |
| 5 | Total hardness is the test for……… - Calcium and Chloride ions in water - Calcium ions only - Calcium and Magnesium ions - Magnesium ions only | 1 mark |
| 6 | The process of collecting samples from the same source but different points of a water body is known as - Composite sampling - Integrated sampling - Grab sampling - Random sampling | 1 mark |
| 7 | Which of the following is a contribution to acid rain - Nitrogen - Microbes - High atmospheric pressure - Carbon dioxide | 1 mark |
| 8 | Identify KEBS Standards for pH of drinking water - 6.0-7.0 - 7.0 -13.0 - 0.0- 7.0 - 6.5-8.5 | 1 mark |
| 9 | Water suspected to contain bacteria can be tested using - Both the MPN and Colilert Test - MPN only - Colilert only - None of the above | 1 mark |
| 10 | Identify a source of microbial pollutants in drinking water - Sediments - Fertilizers - Domestic waste - Industrial waste | 1 mark |
|  | SECTION B )ANSWER ALL QUESTIONS)-40 MARKS |  |
| 11 | Identify three hazards in a water quality testing laboratory | 3 Marks |
| 12 | Outline the procedure for determining pH of a water sample | 3 Marks |
| 14 | Identify any two equipment used in microbial analysis, stating the purpose for which they are used in each case | 4 Marks |
| 15 | Name three groups of water related infections | 3 Marks |
| 16 | Outline the sampling procedure for physical-chemical analysis of a wastewater sample | 3 Marks |
| 17 | State two safety measures to be observed during sampling of wastewater sample | 2 Marks |
| 18 | Identify two signs of a positive outcome in an MPN test | 2 Marks |
| 19 | State two sources of water contaminant of piped water during its distribution to the point of use | 2 Marks |
| 20 | Outline the application of microscopy in water quality testing. | 3 Marks |
| 21 | Outline the procedure for determining the turbidity of a water sample | 4 Marks |
| 22 | List any three components of a water quality test report | 3Marks |
| 23 | Explain the importance of determining biochemical oxygen (BOD) demand in wastewater | 2 Marks |
| 24 | State any two methods for disinfection of drinking water | 2 Marks |
| 25 | State the units of measurement of the following water quality parameters - Total suspended solids - Total coliforms - Turbidity - Colour | 4marks |