AUGUST, 2024 EXAMINATION SERIES

COURSE: PPFT

LEVEL: Y1S1

SUBJECT: WATER TECHNOLOGY PRINCIPLES

SECTION A: COMPULSORY

| QUESTION ONE (10 MARKS) |  |  |
| --- | --- | --- |
|  | Which of the following is a source of freshwater? - Groundwater - Rainwater - Surface run-off - d) All of the above | (1 mark) |
|  | Which of the following water sources cannot be used for drinking purposes? - River water - Seawater - Lakes - None of the above | (1 marks) |
|  | Which of the following does not act as a major factor that effects per capita demand? A. Human activity B. Industrial activities C. Usage of water D. Placement of pipe | (1 marks) |
|  | Define the term Hydrologic cycle - The process of water passing out from the surface of the leaves of a plant. - Movement of water from the atmosphere to the earth and then back to the atmosphere. - Water falling from clouds in the form of rain, sleet, snow or hail. - All of the above | (1 marks) |
|  | The water that is fit for drinking is called. - Potable water - Portable water - Portrayed water - None of the above | (1 marks) |
|  | Which type of water is generally used in the treatment of water? A. Chlorinated water B. Treated water C. Raw water D. Sulphated water | (1 marks) |
|  | The amount of water required for 1 percent per day is determined as A. Daily demand B. Monthly demand C. Annual demand D. Per capita demand | (1 marks) |
|  | Which of the following is NOT a commonly used water treatment process? - Filtration - Reverse osmosis - Distillation - Combustion | (1 marks) |
|  | What is the purpose of a water storage tank in a distribution system? - To purify water - To measure water flow - To store water for peak demand periods - To generate water pressure | (1 marks) |
|  | What is the primary purpose of a water distribution system? - To treat wastewater - To collect rainwater - To deliver potable water to consumers - To generate electricity | (1 marks) |
|  | SECTION B: ANSWER ALL QUESTIONS (40 MARKS) |  |
|  | Define the following terms as used in Water Technology Principles: - Design Period - Intake structure | (2 marks) |
|  | Explain the difference between the following; |  |
|  | - Dry and Wet intake | (2 marks) |
|  | - Exposed and Submerged intake - Gravity and pumping Distribution system. | (2 marks) (2 marks) |
|  | Outline Three reasons why we store water. | (3 marks) |
|  | Predict the population for the following years 2009, 2029 and 2049, from the following population data, using: - Arithmetic Increase Method - Geometric Increase method Year; 1949; 1959; 1969; 1979; 1989; 1999. Pop; 670,000; 910,000; 1,340,000; 1,670,000; 1,980,000; 2,230,000. | (6 marks) |
|  | Using a well-labelled diagram, describe the conventional water treatment process. | (5 marks) |
|  | Give Three factors to consider when selecting the source of water. | (3 marks) |
|  | List Four types of distribution networks. | (4 marks) |
|  | State Three factors considered when selecting location of an intake structure. | (3 marks) |
|  | Calculate the specific weight, mass density (specific mass) and specific gravity of a liquid having a volume of 6 m3 and weight of 44 kN. | (4 marks) |
|  | Explain Two types of sewerage systems | (4 marks) |