| AUGUST,2024 EXAMINATION SERIES COURSE: PPFT LEVEL: Y1 S2 SUBJECT: INSTALL WATER DISTRIBUTION NETWORKS SECTION A (10 MARKS) Answer ALL the questions in this section |  |
| --- | --- |
| - Which of the following statements is NOT true about Galvanized Iron pipes___________________________ - They are strong and durable - They may have a protective coating - They rust almost immediately upon exposure to the atmosphere and moisture - They are made from mild carbon - During transportation of pipes________________________________ - overhang of pipes should not be more than 0.6 m - smaller pipes should be transported separately from bigger pipes - scratching should only be avoided during storage - do not cover the pipes - Which of the following types of pipes is best suited for cold and hot installations? - PVC - PPR - PE - All of the above - Which of the following types of pipes have a big variety of fittings? - PVC - PPR - PE - G.I - During trenching, the width of trench generally depends on__________? - soil type - allowance for working space - cost - all of the above - The recommended depth for pressure pipelines through a bush is_______ - 600 – 1000 mm - 1000 mm - 1500 mm - None of these - The marker post SV indicates______________________ - Safety Valve - Sectional Valve - Sluice Valve - All of the above - Disinfection of pipeline after installation is necessary to ensure_________ - Clear water supply - Germ free water supply - Waste free water supply - Adequate water supply - Which of the following does not represent an AC fitting that exist? - Tees - Bends - Rubbered sockets - Caps. - Which of the following statements are true about flanged joints? - Flanged joint is a rigid joint - It is sealed by compressing a flag gasket - Bolts, nuts and washers are used - All of the above | (1 mark) (1 mark) (1 mark) (1 mark) (1 mark) (1 mark) (1 mark) (1 mark) (1 mark) (1 mark) |
| SECTION B (40 MARKS) Answer ALL the questions from this section |  |
| - Outline THREE disadvantages of galvanized iron (GI) pipes # State THREE properties of polyvinyl chloride pipes - Highlight THREE reasons why pipes are buried and covered during trenching - Draw a simple illustration of the correct pipe laying technique - Briefly explain using relevant illustrations how backfilling onto pipe is done - Give the indication of the following marker posts in pipe laying; - MAJI - FH - AV - State THREE areas thrust blocks are placed during anchoring of pipelines - Outline the threading procedure of jointing pipes - State THREE materials used on threaded joints to facilitate water tight pipe joints - Briefly explain how uPVC pipes are jointed - Name TWO pipe jointing materials used on rubbered socket ends - State FOUR PE fittings that exist on the market | (3 marks) (3 marks) (3 marks) (2 marks) (5 marks) (1 mark) (1 mark) (1 mark) (3 marks) (4 marks) (3 marks) (5 marks) (2 marks) (4 marks) |

THIS IS THE LAST PRINTED PAGE