AUGUST, 2024 EXAMINATION SERIES

COURSE: PPFT

LEVEL: Y1S2

SUBJECT: INSTALLATION OF SOLAR WATER HEATING AND PUMPING SYSTEMS

SECTION A

| 1. | Which one of the following is NOT a source of energy for heating water - Firewood - Charcoal - Sun - Geothermal | (1 mark) |
| --- | --- | --- |
| 2. | Identify a clean source of energy for water heating - Firewood - Sun - Charcoal - None of the above | (1 mark) |
| 3. | In comparison to electricity-based water heating systems, which one of the following is a disadvantage of solar water heating systems - Reliable heating can be achieved even during cloudy days - Solar energy is free - Reliable heating cannot be achieved even during cloudy days - None of the above | (1 mark) |
| 4 | In the listed statements below, which one is NOT correct about active solar water heating - Have circulating pumps and controls as additional component, - Do not have circulating pumps and controls as additional component - Have direct circulation system - Have indirect circulation system | (1 mark) |
| 5. | Which one is NOT a component of solar water heating - Thermal collector - Accumulator tank - Pump - Turbine | (1 mark) |
| 6 | There are different types of solar collectors used in hot water systems. In the below listed, which one is NOT one of them. - Flat plate collector - Riser collector - Integral collector-storage systems - Evacuated-tube solar collectors | (1 mark) |
| 7. | In the statements below, which one of them appropriately describes a pump - A devise used to generate electricity - An equipment that is used to compress liquid such as water - A devise used to raise the level of water from a lower to a higher heights - A devise that drives a motor | (1 mark) |
| 8 | Pumps are usually powered by other devises. As highlighted below, which one is not - Hydro-turbine - Windmill - Generator - Motor | (1 mark) |
| 9 | Below are some statements associated with pumps. Of the statements, which one is INCORRECT about submersible pumps? - They are installed with water level above the centerline of the pump - They are installed submerged in water - They are installed with a suction head - They are installed without a suction head | (1 mark) |
| 10 | There are various types of pumps available for pumping water. In the list below, which is NOT a type. - Centrifugal pump - Reciprocating pumps - Air compressor - Rotary pumps | (1 mark) |
|  | SECTION B |  |
| 11. | Differentiate between in-house hot water supply and in-house cold water supply system | (4 marks) |
| 12. | In your own words, describe solar water heating and highlight its key components | (4 marks) |
| 13. | Describe any TWO types of solar collectors used with the various solar water heating systems | (4 marks) |
| 14. | Highlight the advantages of using solar, as compared to electricity, in water heating | (4 marks) |
| 15. | Describe the term lagging as applicable in hot water supply systems | (4 marks) |
| 16. | By giving example, differentiate between clean and non-clean energy sources that can be used to heat water | (4 marks) |
| 17. | Differentiate between direct and indirect active solar water heating systems | (4 marks) |
| 18. | With an aid of a diagram, describe how a thermosyphon solar water heating system works | (4 marks) |
| 19. | Explain how direct hot water supply system is different from indirect hot water supply system | (4 marks) |
| 20. | Define the term pump | (2 marks) |
| 21. | Describe, briefly, any one type of pumps | (2 marks) |